Pasirinkite tinkamos kalbos formą / Select the form in the appropriate language:

- Lietuvių kalba –2 psl.

- English version – page 5

Pasirašytą pasiūlymą pateikite tik viena kalba el . paštu: konkursas.iranga@glassltfire.com

Terminas: iki 2025-11-10 dienos 17 val. (Lietuvos laiku)

Submit the signed proposal in one language only by e-mail: konkursas.iranga@glassltfire.com
Deadline: by 10 November 2025, 17:00 (Lithuanian time)

# PASIŪLYMAS

# DĖL STIKLO TERMOŠOKO KROSNIES ĮSIGIJIMO

2025-__-__

_______________

(vieta)

| Tiekėjo pavadinimas |  |
| --- | --- |
| Tiekėjo adresas |  |
| Už pasiūlymą atsakingo asmens vardas, pavardė |  |
| Telefono numeris |  |
| El. pašto adresas |  |

Šiuo pasiūlymu pažymime, kad sutinkame su visomis pirkimo sąlygomis, nustatytomis:

1) konkurso skelbime, paskelbtame www.esinvesticijos.lt

2) konkurso sąlygose;

3) pirkimo dokumentų prieduose.

Mes siūlome šias Prekes (įskaitant visas Konkurso sąlygų 4.12 p. nurodytas išlaidas):

| Eil. Nr. | Prekių pavadinimas | Kiekis | Mato vnt. | Vieneto kaina, Eur (be PVM) | Vieneto kaina, Eur (su PVM) | Kaina, Eur (be PVM) | Kaina, Eur (su PVM) |
| --- | --- | --- | --- | --- | --- | --- | --- |
| 1. | Stiklo termošoko krosnis | 1 | vnt. |  |  |  |  |
|  |  | IŠ VISO (bendra pasiūlymo kaina) |  |  |  |  |  |

Siūlomos Prekės visiškai atitinka pirkimo dokumentuose nurodytus reikalavimus ir jų savybės tokios:

| Eil. Nr. | Prekės funkcijų ir/ar techninių reikalavimų (rodiklių) pavadinimai (apibūdinimai) (pildo Pirkėjas) | Prekės funkcijų ir/ar techninių reikalavimų (rodiklių) reikšmės (pildo Pirkėjas) | Siūlomos Prekės funkcijų ir/ar techninių reikalavimų (rodiklių) reikšmės (pildo Tiekėjas) | Siūlomos Prekės atitikimas reikalavimams (atitinka/ neatitinka) (pildo Tiekėjas) |
| --- | --- | --- | --- | --- |
| 1. | Perkamo įrenginio funkcija | Termošoko testas grūdintam stiklui |  |  |
| 2. | Maksimalus grūdinamo stiklo storis | Ne mažiau nei 4500 x 2700 mm |  |  |
| 3. | Maksimalus stiklo talpumas | Ne mažiau nei 4,5 t |  |  |
| 4. | Krosnies kaitinimo tipas | Elektrinis su priverstine kašto oro cirkuliacija ir greitu karšto oro pertekliaus nuėmimu po testavimo |  |  |
| 5. | Krosnies kontrolė | PLK kontrolė per liečiamąjį ekraną su automatine testavimo temperatūros kontūro kontrole |  |  |
| 6. | Skaitmeninis įrašymas | Turi būti su grafiniu ekranu su USB ir sąsaja testavimo duomenų eksportui į atskirą PK |  |  |
| 7. | Kondicionierius elektros spintai | Turi būti |  |  |
| 8. | Nuotolinė pagalba | Turi būti ne mažiau nei 2 metus |  |  |
| 9. | Termošoko krosnies kokybė | Turi atitikti EN14179 standartui ar lygiaverčiam |  |  |
| 10. | A-tipo piramidė L.5000mm specialiai dengtam stiklui (pritaikytas minkštoms selektyvinėms dangoms) | Turi būti |  |  |
| 11. | Antras lygmuo ant piramidės (turi laikyti ne mažiau 1200 kg), esant poreikiui nuimamas | Turi būti |  |  |
| 12. | Tarpinės stygos piramidei | Turi būti |  |  |
| 13. | Pakrovėjo adapteris sunkiems kroviniams (pritaikytas prikabinimui prie pirkėjo krautuvo) | Turi būti |  |  |
| 14. | Krosnies kalibravimas | Turi būti su kalibravimo sertifikatu (pagal EN14179 standartą arba lygiavertį) |  |  |
| 15. | Bendras staklių vaizdas | Pateikti foto nuotraukas ir brėžinius |  |  |
| 16. | Vartotojo techninė dokumentacija lietuvių kalba: * Staklių pasas. * Eksploatavimo ir priežiūros instrukcija. * Saugos instrukcija | Privaloma |  |  |
| 17. | Garantija termošoko krosniai | Ne trumpiau 12 mėn. |  |  |
| 18. | Įranga atitinka CE reikalavimus, yra nauja ir nenaudota | Privaloma |  |  |
| 19. | Žaliojo pirkimo reikalavimas: prekė yra tvirta, ilgaamžė, funkcionali, ji ar jos sudedamosios dalys tinka naudoti daug kartų ir (ar) lengvai pataisomos, ir (ar) pakeičiamos; | Privaloma |  |  |

Kartu su pasiūlymu pateikiami šie dokumentai:

| Eil. Nr. | Pateiktų dokumentų pavadinimas | Dokumento puslapių skaičius |
| --- | --- | --- |

Pasiūlymas galioja iki 20__-___-___ d.

Aš, žemiau pasirašęs (-iusi), patvirtinu, kad visa mūsų pasiūlyme pateikta informacija yra teisinga ir kad mes nenuslėpėme jokios informacijos, kurią buvo prašoma pateikti konkurso dalyvius.

Aš patvirtinu, kad nedalyvavau rengiant pirkimo dokumentus ir nesu susijęs su jokia kita šiame konkurse dalyvaujančia įmone ar kita suinteresuota šalimi.

Aš patvirtinu, kad mano atstovaujamos įmonės ir/ar subtiekėjo sudėtyje nėra Rusijos dalyvavimo, viršijančio 2014 m. liepos 31 d. Tarybos reglamento (ES) Nr. 833/2014 dėl ribojamųjų priemonių atsižvelgiant į Rusijos veiksmus, kuriais destabilizuojama padėtis Ukrainoje, su visais pakeitimais, nustatytų ribų.

Aš, patvirtinu, kad mano atstovaujamai įmonei ir/ar subtiekėjui, kuriuos esu pasitelkęs ar pasitelksiu ateityje, ūkio subjektams, kurių pajėgumais remiuosi ar (ir) remsiuosi, prekių (ir jų sudedamųjų dalių) gamintojams netaikomos Lietuvos Respublikoje įgyvendinamos tarptautinės sankcijos, kaip tai apibrėžta Lietuvos Respublikos tarptautinių sankcijų įstatyme.

Aš suprantu, kad išaiškėjus aukščiau nurodytoms aplinkybėms būsiu pašalintas (-a) iš šio konkurso procedūros, ir mano pasiūlymas bus atmestas.

| Tiekėjo vadovo arba jo įgalioto asmens pareigos |  | parašas |  | Vardas Pavardė |
| --- | --- | --- | --- | --- |

# TENDER

# FOR THE SUPPLY OF A HEAT SOAK TEST OVEN

2025-__-__

_______________

(place)

| Supplier name |  |
| --- | --- |
| Supplier address |  |
| Name and surname of the person responsible for the tender |  |
| Telephone number |  |
| E-mail address |  |

By this Tender, we confirm that we agree with all procurement conditions set forth in:

- the procurement notice published on www.esinvesticijos.lt;

- the Tender Conditions;

- the Annexes to the procurement documents.

We hereby offer the following Goods (including all costs specified in Clause 4.12 of the Tender Conditions):

| No. | Description of Goods | Quantity | Unit | Unit Price, EUR (excl. VAT) | Unit Price, EUR (incl. VAT) | Total Price, EUR (excl. VAT) | Total Price, EUR (incl. VAT) |
| --- | --- | --- | --- | --- | --- | --- | --- |
| 1. | Heat Soak Test Oven | 1 | unit |  |  |  |  |
|  |  | TOTAL (overall tender price): |  |  |  |  |  |

The Goods offered fully comply with the requirements specified in the procurement documents, and their characteristics are as follows:

| No. | Description of the functions and/or technical requirements (parameters) of the Goods (to be completed by the Buyer) | Values of the functions and/or technical requirements (parameters) of the Goods (to be completed by the Buyer) | Values of the functions and/or technical requirements (parameters) of the Goods offered (to be completed by the Supplier) | Compliance of the offered Goods with the requirements (complies / does not comply) (to be completed by the Supplier) |
| --- | --- | --- | --- | --- |
| 1. | Function of the equipment to be procured | Heat soak testing of tempered glass |  |  |
| 2. | Maximum size of tempered glass | Not less than 4500 × 2700 mm |  |  |
| 3. | Maximum glass capacity | Not less than 4.5 tonnes |  |  |
| 4. | Type of furnace heating | Electric, with forced hot-air circulation and rapid removal of excess hot air after testing |  |  |
| 5. | Furnace control | PLC control via touch screen with automatic control of the testing temperature loop |  |  |
| 6. | Digital recording | Must include a graphical display, with USB port and interface for exporting test data to a separate PC |  |  |
| 7. | Electrical cabinet air conditioning | Required |  |  |
| 8. | Remote support | Required for not less than 2 years |  |  |
| 9. | Heat soak test oven quality | Must comply with EN 14179 standard or equivalent |  |  |
| 10. | Type A pyramid, L = 5000 mm, for specially coated glass (suitable for soft-coated selective glass) | Required |  |  |
| 11. | Second level on pyramid (must support at least 1200 kg), removable if necessary | Required |  |  |
| 12. | Spacer ropes for pyramid | Required |  |  |
| 13. | Loader adapter for heavy loads (suitable for attachment to Buyer’s forklift) | Required |  |  |
| 14. | Furnace calibration | Must include calibration certificate (according to EN 14179 or equivalent) |  |  |
| 15. | General appearance of the machinery | Provide photographs and technical drawings |  |  |
| 16. | User technical documentation in Lithuanian language: • Machine passport • Operating and maintenance manual • Safety instructions | Mandatory |  |  |
| 17. | Warranty for heat soak test oven | Not less than 12 months |  |  |
| 18. | Equipment conformity | Must comply with CE requirements; new and unused |  |  |
| 19. | Green procurement requirement: The product must be durable, long-lasting, and functional; its parts must be suitable for multiple use and/or easily repairable and/or replaceable. | Mandatory |  |  |

The following documents are submitted together with this Tender:

| No. | Title of the submitted document | Number of pages |
| --- | --- | --- |

The Tender shall remain valid until 20__--.

I, the undersigned, hereby confirm that all information provided in our Tender is true and accurate, and that we have not withheld any information requested from participants in this procurement procedure.

I confirm that I did not participate in the preparation of the procurement documents and that I am not affiliated with any other company or interested party participating in this tender.

I confirm that neither my represented company nor any of its subcontractors includes Russian participation exceeding the limits established by Council Regulation (EU) No. 833/2014 of 31 July 2014 concerning restrictive measures in view of Russia’s actions destabilising the situation in Ukraine, as amended.

I further confirm that no international sanctions implemented in the Republic of Lithuania, as defined in the Law on the Implementation of International Sanctions of the Republic of Lithuania, apply to my represented company and/or subcontractors, or to any economic operators whose capacities I rely upon or will rely upon, or to the manufacturers of the goods (and their components).

I understand that if any of the above circumstances are found to be true, I will be disqualified from this tender procedure, and my Tender will be rejected.

| Position of the Supplier’s manager or authorised representative |  | Signature |  | Full name |
| --- | --- | --- | --- | --- |